## Slide 1: Man-in-the-Middle Attack Mitigation in Internet of Medical Things
Jyothirmayee Hima Bindu
Nandini Mounika
Notes: ID=d924773e-9a16-4d6d-9803-8cb819e99682 Recipe=text_billboard Type=TextOnly Variant=0 FamilyID=AccentBoxWalbaum_Zero

## Slide 2: Overview
Imagine a hospital setting where various IoMT devices (such as wearable monitors, patient tracking devices) communicate patient data to a central monitoring system. Ensuring that this data is genuine (data authentication) and identifying anomalous patterns (anomaly detection) is critical to minimizing false alarms and focusing on true, actionable alerts.

## Slide 3: Context
Data Acquisition and Preprocessing
LSH Signature Generation and HMAC
Data Transmission from Sensors to LPU
Data Authentication
Min-Hash based Anomaly Detection
Raising an Alarm

## Slide 4: Components and Techniques
Locality Sensitive Hashing (LSH): Used to group similar data points based on hashed values, allowing
us to efficiently compare incoming data streams to previously authenticated streams.
Min-Hash: A technique to estimate the similarity between sets (data streams from IoMT devices) and detect any unusual patterns or deviations that might signal an anomaly.
RSSI (Received Signal Strength Indicator): Acts as a metric for data authentication, verifying whether the source signal strength aligns with previous valid readings from a specific device.
Variations in RSSI could indicate a tampering attempt or a rogue device.

## Slide 5: Step 1: Generate IoMT Device Data Step 2: Implement Locality Sensitive Hashing (LSH) Step 3: Data Authentication using HMAC Step 4: RSSI-Based Key Derivation Step 5: Anomaly Detection Step 6: Alert Generation
Demo Steps

## Slide 6: Step 1: Generate IoMT Device Data Simulate data streams from several IoMT devices with features such as: Heart rate: Normal range (60-100 bpm) but occasionally producing abnormal values for testing. Blood pressure: Varies within expected thresholds. Device ID and RSSI: RSSI values are consistent within a narrow range for each device, making it possible to detect anomalies if values deviate beyond expected limits. Few more features – {'Patient_ID', 'Age', 'Gender', 'Symptom_1', 'Symptom_2', 'Symptom_3', 'Body_Temperature_C', 'Oxygen_Saturation_%', 'Diagnosis', 'Severity', 'Treatment_Plan’ }

## Slide 7: Step 2: Implement Locality Sensitive Hashing (LSH) Use LSH to create hash tables where each bucket contains similar Min-Hash signatures. Store each device's historical Min-Hash values in these hash tables to make real-time similarity checks efficient. When new data arrives, check its Min-Hash against stored hashes in relevant buckets to determine if the pattern is consistent or an anomaly.

## Slide 8: Step 3: Data Authentication using HMAC Use Min-Hash to generate hash signatures of historical data (normal operation data) for each device. For each new data point, compute the Min-Hash signature and compare it to the historical Min-Hash values. If the similarity score between the new data's Min-Hash signature and the historical signature is below a certain threshold, classify it as anomalous.

## Slide 9: Step 4: RSSI-Based Key Derivation For every incoming data point: Check if the RSSI value is within the normal range for the given device. If the RSSI deviates significantly, mark the data as potentially unauthentic and raise a low-priority alert (as it may be a non-critical anomaly or a minor RSSI fluctuation). Otherwise, if RSSI is within range and LSH-Min Hash analysis confirms normality, mark the data as authenticated and normal.

## Slide 10: Step 5: Anomaly Detection The Random Forest model is used for disease classification, while the Isolation Forest identifies unusual patterns in health metrics that may indicate anomaly

## Slide 11: Step 6: Alert Generation If both RSSI and LSH-Min Hash indicate an anomaly: Trigger a high-priority alert indicating a strong likelihood of a genuine abnormality or security breach. If only one method detects an issue (RSSI fluctuates but LSH-Min Hash is normal): Trigger a low-priority alert, allowing the monitoring system to log but not react with full intervention. If both methods are normal: No alert, as the data is considered consistent and authenticated.

## Slide 12: if anomaly_detected and not rssi_authentic: alert_level = "High" elif anomaly_detected or not rssi_authentic: alert_level = "Low" else: alert_level = "None"
Alert Condition

## Slide 13: Expected Outcomes High Alert: When both anomaly detection (LSH & Min-Hash) and RSSI indicate issues. Low Alert: When either anomaly detection or RSSI shows an inconsistency. No Alert: When data passes both checks, indicating it’s consistent and authenticated.

## Slide 14: THANK YOU
GROUP - 9